## Sheet1
Annexures for Record Keeping in Operation LMI
S.N. | LMI NO. | LMI Title | SL NO. | Annexure Title | Responsibility | Frequency | Remarks
1 | LMI/OGN/OPN/MECH/004 Rev:02 | ROUTINE INSPECTION OF STEAM TURBINE CONTROL OIL PIPE WORK TO REDUCE POTENTIAL FIRE RISK (A) | 1 | ANNEXURE-1: VISUAL INSPECTION OF CONTROL/LUBE OIL INSPECTION TO BE DONE DURING STARTUP OF TURBINE | Operation/TMD | MONTHLY
|  |  | 2 | ANNEXURE-2: MONTHLY CHECK LIST OF TURBINE OIL LEAKAGE AND PIPE LINES SUPPORT/ HANGERS HEALTHINESS | Operation/TMD | MONTHLY
|  |  | 3 | ANNEXURE-3: CHECK LIST OF TURBINE LUB OIL/CONTROL OIL SYSTEM DURING OVERHAUL | Operation/C&I | DURING OVERHAULING
|  |  | 4 | ANNEXURE-4: FIRE PROTECTION TRIPS OF TURBINE | Operation/C&I | DURING OVERHAULING
|  |  | 5 | ANNEXURE-5: HYDRAULIC TEST OF OIL LINES DURING OVERHAULING | Operation/TMD | DURING OVERHAULING
2 | LMI/DADRI-TH/OD/OPS/SYST/001 Rev. No.: 3 | BARRING OF TURBINE GENERATORS/TDBFPS AND PREVENTION OF STALLING | 1 | Annexure-I : Dos & Don’ts | Operation | DURING TURBINE BARRING
|  |  | 2 | Annexure-2 Parameters to be monitored | Operation | DURING TURBINE BARRING
3 | LMI/OD/OPN/SYST/004 Rev:3 | PREVENTION OF AIR PRE HEATER FIRES | 1 | ANNEXURE-I: PROTOCOL FOR AIR HEATER CLEANLINESS | BMD/Recommisioning | DURING START UP
|  |  | 2 | ANNEXURE-II: PROTOCOL FOR APH FIRE WATER | BMD/Recommisioning | DURING START UP
|  |  | 3 | ANNEXURE-III: PROTOCOL FOR AIR PREHEATER OIL CARRY OVER PROBES (OCP) | BMD/Recommisioning | DURING START UP
|  |  | 4 | ANNEXURE-IV: PROTOCOL FOR AIR PREHEATER SOOTBLOWER | BMD/Recommisioning | DURING START UP
|  |  | 5 | ANNEXURE-V : PROTECTIONS AND INTERLOCKS AIR PREHEATER MOTOR AUTO START CHECKING | C&I/Recommisioning | DURING START UP
|  |  | 6 | ANNEXURE-VI : AIR PREHEATER AUXILIARIES AVAILABILITY | Operation/C&I/Recommisioning | DURING START UP
|  |  | 7 | ANNEXURE-VII: PROTOCOL FOR OIL TRIP VALVE | BMD/Recommisioning | DURING START UP
|  |  | 8 | ANNEXURE-VIII: PROTOCOL FOR OIL BURNER VALVE | BMD/Recommisioning | DURING START UP
|  |  | 9 | ANNEXURE-IX : PROTOCOL FOR OIL BURNERS | Operation/BMD/C&I | DURING START UP
|  |  | 10 | ANNEXURE-X : COLD START-UP CHECK LIST (POST OVERHAUL) |  | AFTER OVEHAULING
|  |  | 11 | ANNEXURE-XI : BOILER START UP LOG | Operation | DURING START UP
4 | LMI/OD/OPS/SYST/005 Rev: 04 | REGULATING/BYPASSING PERMISSIVES AND PROTECTIONS OF THE UNIT/ EQUIPMENT TEMPORARILY | 1 | ANNEXURE-III :EXCEPTION REPORT ON THE STATUS OF UNIT PROTECTIONS | Head of O&M
5 | LMI /OD/ OPS/SYST/006 Rev: 04 | TESTING OF TURBINE PROTECTION DEVICES (4X210 MW & 2X490 MW) | 1 | ANNEXURE-I : SCHEDULE FOR TESTING
|  |  | 2 | DC lub oil pump | Operation | DAILY
|  |  | 3 | Remote trip Actuator | Operation | FORT NIGHTLY
|  |  | 4 | Over speed device | Operation | FORT NIGHTLY
|  |  | 5 | Low Vacuum Trip device | Operation | FORT NIGHTLY
|  |  | 6 | Thrust brg. Trip(Stage-I) | Operation | FORT NIGHTLY
|  |  | 7 | Turbine stop v/v | Operation | FORT NIGHTLY
|  |  | 8 | Turbine control v/v | Operation | FORT NIGHTLY
|  |  | 9 | Remote trip actuator | Operation | AFTER OVERHAULS AND AFTER OUTAGES EXCEEDING ONE MONTH
|  |  | 10 | Overspeed device | Operation | AFTER OVERHAULING
|  |  | 11 | Low vacuum trip device | Operation | AFTER OVERHAULS AND AFTER OUTAGES EXCEEDING ONE MONTH
|  |  | 12 | Turbine stop v/v | Operation | AFTER OVERHAULS AND AFTER OUTAGES EXCEEDING ONE MONTH
|  |  | 13 | Turbine control v/v | Operation | AFTER OVERHAULS AND AFTER OUTAGES EXCEEDING ONE MONTH
|  |  | 14 | Thrust brg. Trip(Stage-I) | Operation | AFTER OVERHAULING
|  |  | 15 | Extraction NRVs | Operation | AFTER OVERHAULING
|  |  | 16 | Fire protection | Operation | AFTER OVERHAULING
|  |  | 17 | ANNEXURE-II: RECORD FORMAT FOR DETAILS OF TESTING
6 | LMI/DADRI-TH/OD/OPS/SYST/007 REV: 05 | UNIT PROTECTION CHECKING | 1 | Annexure-1: BOILER PROTECTIONS | Operation/C&I/MTP | DURING OUTAGES EXTENDING MORE THAN 48 HRS. OCCURRING
|  |  | 2 | Annexure-2:TURBINE PROTECTIONS | Operation/C&I/MTP
|  |  | 3 | Annexure-3:Generator Protection(GRP) | Operation/C&I/MTP
7 | LMI/DADRI-H/OGN/OPS/SYST/001 REV: 05 | PREVENTION AND SAFE CLEARING OF ASH BUILD-UP IN BOILER BOTTOM ASH HOPPERS | 1 | ANNEXURE-1: SADC CHECKING | Operation/C&I
|  |  | 2 | ANNEXURE-2: WALL BLOWER PRESSURE SETTING | Operation/BMD
8 | LMI/OGN/OPS/SYST/009 Rev: 04 | PREVENTION OF DAMAGE TO GENERATOR DUE TO MOISTURE IN HYDROGEN | 1 | ANEXURE- I : PROTOCOL FOR DEW POINT MEASUREMENT BEFORE EXCITING THE GENERATOR | Operation/Chemistry | BEFORE EXCITING THE GENERATOR
9 | LMI/OGN/OPS/MECH/017 Rev: 03 | NON-COMPATIBILITY OF TURBINE GENERATOR LUBRICATING, CONTROL & SEALING OILS SUPPLIED BY DIFFERENT OIL COMPANIES (4X210 MW & 2X490 MW) | 1 | Annexure-1:Format for Oil filling in Lub oil system | Operation/TMD | DURING OIL FILLING
10 | LMI/OGN/OPN/SYST/005 REV. 5 | LONG RETRACTABLE SOOT BLOWER OPERATION | 1 | Annexure A:LRSB Logbook | Operation | EACH TIME OF LRSB OPERATION
11 | LMI/DADRI-TH/OGN/OPS/SYST/012 | SWITCHING OF POWER STATION DISTRIBUTION SYSTEM WHERE FAULT LEVEL RATING MAY BE EXCEEDED | 1 | Annexure A: HT/LT Bus Auto Changeover Checklist | Operation/EMD | EVERYTIME BUS CHANGEOVER DONE
12 | LMI/OGN/OPS/MECH/011 Rev: 04 | THE CONTROL OF PF AGGLOMERATE EMISSIONS FROM COAL FIRED STATIONS | 1 | Annexure-1:PROTOCOL FOR AIR & FLUE GAS DUCTS CLEANING AND INSPECTION | Operation/Recommisioning/BMD | DURING OVERHAULING
|  |  | 2 | Annexure-2 : Protocol for PFA Agglomerates/Flakes blown off by running ID/FD Fan | Operation | WHENEVER FLAKES ARE BLOWN BY ID/FD
|  |  | 3 | Annexure-3 : PROTOCOL FOR WATER JET WASHING OF APH I/L AND O/L DUCT & ID FAN I/L O/L DUCT & Chimney Walls | Operation/Recommisioning/BMD | DURING OVERHAULING
13 | LMI /OGN/OPS/MECH/003 Rev: 03 | TESTING OF SAFETY AND PROTECTIVE DEVICES (KWU TURBINE) (4X210 MW & 2X490 MW) | 1 | Annexure-1: Oil Injection Test of Main Turbine | Operation/TMD | 2-4 WEEK
|  |  | 2 | Annexure-2: PROTOCOL FOR TURBINE ACTUAL OVER SPEED TEST | Operation/TMD | 1 YEAR
|  |  | 3 | Annexure-3 : Protocol for testing of Main Trip valve | Operation/TMD | 2-4 WEEK
|  |  | 4 | Annexure-4: Protocol of exercising the stop valves & Control valves (Without ATT) | Operation/TMD | AFTER OVERHAUL/ REPAIRS
|  |  | 5 | Annexure-5:Protocol of testing the stop valves & Control valves with Automatic Turbine Tester | Operation/TMD | 2-4 WEEK
|  |  | 6 | Annexure- 6:PROTOCOL FOR HYDRAULIC GOVERNOR CHARACTRISTICS | Operation/TMD | AFTER OVERHAUL/ REPAIRS
|  |  | 7 | Annexure: 7:Protocol for testing the leakage (passing) of stop valves and control valves | Operation/TMD | DURING STARTUP/ DURING SHUTTING DOWN/ 3-12 MONTHS
|  |  | 8 | Annexure: 8:Protocol for Testing of hydraulic low vacuum device & checking of electrical low vacuum trip | Operation/TMD | HYD- 2-4 WEEK ELEC- 1 YEAR/ SHUTDOWN
|  |  | 9 | Annexure: 9:Protocol for Testing of Thrust bearing trip Device (Stage-1) | Operation/TMD | 2-4 WEEK
|  |  | 10 | Annexure: 10:Protocol for Testing of Extraction NRVs | Operation/TMD | 2-4 WEEK
|  |  | 11 | Annexure: 11:FIRE PROTECTION TRIPS OF TURBINE | Operation/TMD | 1 YEAR / STANDSTILL FOR 4 TO 24 HRS
14 | LMI/OGN/OPN/MECH/042 Rev:02 | CONTROLLED FAST COOLING DOWN OF KWU STEAM TURBINES | 1 | ANNEXURE-3: Controlled Fast Cooling of Turbine Log Sheet – I | Operation | HOURLY DURING FAST COOLING OF TURBINE
|  |  | 2 | ANNEXURE-4: Controlled Fast Cooling of Turbine Log Sheet - II | Operation | HOURLY DURING FAST COOLING OF TURBINE
15 | LMI/OGN/OPS/MECH/014 Rev:03 | AVOIDANCE OF MIXING OF NATURAL AND SYNTHETIC BASED FLUID WITHIN THE SAME CONTROL FLUID SYSTEM | 1 | Annexure-1 Protocol for Level switch checking of leakage pot in control fluid system | Operation/C&I | DURING OVERHAULING
|  |  | 2 | Annexure-2 Format for FRF makeup in Control fluid system | Operation | DURING MAKEUP
16 | LMI/OIN/OPS/MECH/028 Rev: 00 | GUIDELINES FOR ACV/MCV CHANGEOVER IN TDBFP STAGE-2 (2X490 MW) | 1 | ANNEXURE-1: PROTOCOL FOR GOVERNING CHARACTERSTICS FOR MCV/ACV | Operation/C&I/TMD | DURING OVERHAULING
17 | LMI/DADRI-TH/OGN/OPN/SYST/032 | OPERATING PROCEDURE TO BE FOLLOWED IN CASE OF EXCESS ASH ACCUMULATION INSIDE ESP HOPPERS | 1 | Joint Protocol to be Signed Prior ESP Field Charging After Overhauling | Operation/BMD/EMD/AHP/C&I | DURING OVERHAULING
|  |  | 2 | ESP HOPPERS ASH LEVEL CHECKING PROTOCOL | Operation/EMD/AHP/C&I | DURING OVERHAULING
|  |  | 3 | ESP RAPPING MOTORS STATUS | Operation-Gen | FORT NIGHTLY
|  |  | 4 | ESP HOPPER TEMP. STATUS | Operation-Gen | FORT NIGHTLY
|  |  | 5 | DAILY ESP STATUS | Operation | DAILY
|  |  | 6 | HOPPER HEATER CURRENT CHECKING BY EMD | EMD | MONTHLY

## logs
id | wdid | title | filename | frequency | firstduedate | lastduedate | latestlogdate | nextduedate
1 | 1 | 1 | 1 | 5 | 2020-01-01 | 2958465
2 | 1 | 1 | 2 | 5 | 2020-01-02 | 2958465
3 | 1 | 1 | 3 | 5 | 2020-01-03 | 2958465
4 | 1 | 1 | 4 | 5 | 2020-01-04 | 2958465
5 | 1 | 1 | 5 | 5 | 2020-01-05 | 2958465
6 | 1 | 1 | 6 | 5 | 2020-01-06 | 2958465

## watchdogs
id | isid | bpid | wcid | frequency | logpath | latestlogdate | nextduedate | created_by | created | created_by_alias | publish_up | publish_down | modified_by | modified | checked_out | checked_out_time | acess | state | ordering
1 | 1 | 1 | 1 | 5 | logbookfiles/1-1-1/ | [5 empty] | 2020-01-01 | 2958465
2 | 1 | 1 | 2 | 5 | logbookfiles/1-1-2/ | [5 empty] | 2020-01-02 | 2958465
3 | 1 | 1 | 3 | 5 | logbookfiles/1-1-3/ | [5 empty] | 2020-01-03 | 2958465
4 | 1 | 1 | 4 | 5 | logbookfiles/1-1-4/ | [5 empty] | 2020-01-04 | 2958465
5 | 1 | 1 | 5 | 5 | logbookfiles/1-1-5/ | [5 empty] | 2020-01-05 | 2958465
6 | 1 | 1 | 6 | 5 | logbookfiles/1-1-6/ | [5 empty] | 2020-01-06 | 2958465

## workcenters
id | title
1 | Unit-1
2 | Unit-2
3 | Unit-3
4 | Unit-4
5 | Unit-5
6 | Unit-6

## timeintervals
id | title
1 | 1 Day
2 | 1 Week
3 | 1 Fortnight
4 | 1 Month
5 | 3 Months
6 | 1 Year
7 | 2 Years

## instructionsets
ID | title | refno | revnos | issuedates
1 | Routine Inspection Of Steam Turbine Control Oil Pipe Work To Reduce Potential Fire Risk (A) | LMI/OGN/OPN/MECH/004 | {0,1,2} | {"", "",""}
2 | Barring Of Turbine Generators/Tdbfps And Prevention Of Stalling | LMI/DADRI-TH/OD/OPS/SYST/001 | {0,1,2} | {"", "",""}
3 | Prevention Of Air Pre Heater Fires | LMI/OD/OPN/SYST/004 | {0,1,2} | {"", "",""}
4 | Regulating/Bypassing Permissives And Protections Of The Unit/ Equipment Temporarily | LMI/OD/OPS/SYST/005 | {0,1,2} | {"", "",""}
5 | Testing Of Turbine Protection Devices (4X210 Mw & 2X490 Mw) | LMI /OD/ OPS/SYST/006 | {0,1,2} | {"", "",""}
6 | Unit Protection Checking | LMI/DADRI-TH/OD/OPS/SYST/007 | {0,1,2} | {"", "",""}
7 | Prevention And Safe Clearing Of Ash Build-Up In Boiler Bottom Ash Hoppers | LMI/DADRI-H/OGN/OPS/SYST/001 | {0,1,2} | {"", "",""}
8 | Prevention Of Damage To Generator Due To Moisture In Hydrogen | LMI/OGN/OPS/SYST/009 | {0,1,2} | {"", "",""}
9 | Non-Compatibility Of Turbine Generator Lubricating, Control & Sealing Oils Supplied By Different Oil Companies (4X210 Mw & 2X490 Mw) | LMI/OGN/OPS/MECH/017 | {0,1,2} | {"", "",""}
10 | Long Retractable Soot Blower Operation | LMI/OGN/OPN/SYST/005 | {0,1,2} | {"", "",""}
11 | Switching Of Power Station Distribution System Where Fault Level Rating May Be Exceeded | LMI/DADRI-TH/OGN/OPS/SYST/012 | {0,1,2} | {"", "",""}
12 | The Control Of Pf Agglomerate Emissions From Coal Fired Stations | LMI/OGN/OPS/MECH/011 | {0,1,2} | {"", "",""}
13 | Testing Of Safety And Protective Devices (Kwu Turbine) (4X210 Mw & 2X490 Mw) | LMI /OGN/OPS/MECH/003 | {0,1,2} | {"", "",""}
14 | Controlled Fast Cooling Down Of Kwu Steam Turbines | LMI/OGN/OPN/MECH/042 | {0,1,2} | {"", "",""}
15 | Avoidance Of Mixing Of Natural And Synthetic Based Fluid Within The Same Control Fluid System | LMI/OGN/OPS/MECH/014 | {0,1,2} | {"", "",""}
16 | Guidelines For Acv/Mcv Changeover In Tdbfp Stage-2 (2X490 Mw) | LMI/OIN/OPS/MECH/028 | {0,1,2} | {"", "",""}
17 | Operating Procedure To Be Followed In Case Of Excess Ash Accumulation Inside Esp Hoppers | LMI/DADRI-TH/OGN/OPN/SYST/032 | {0,1,2} | {"", "",""}

## blueprints
id | title | annexno | frequencies | isid | applications | firstduedates | lastduedates
1 | Visual inspection of control/lube oil inspection to be done during startup of turbine | 1 | 5 | 1 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
2 | Monthly check list of turbine oil leakage and pipe lines support/ hangers healthiness | 2 | 5 | 1 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
3 | Check list of turbine lub oil/control oil system during overhaul | 3 | 9 | 1 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
4 | Fire protection trips of turbine | 4 | 9 | 1 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
5 | Hydraulic test of oil lines during overhauling | 5 | 9 | 1 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
6 | Dos & don’ts | 1 | 1 | 2 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
7 | Parameters to be monitored | 2 | 1 | 2 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
8 | Protocol for air heater cleanliness | 1 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
9 | Protocol for aph fire water | 2 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
10 | Protocol for air preheater oil carry over probes (ocp) | 3 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
11 | Protocol for air preheater sootblower | 4 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
12 | Protections and interlocks air preheater motor auto start checking | 5 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
13 | Air preheater auxiliaries availability | 6 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
14 | Protocol for oil trip valve | 7 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
15 | Protocol for oil burner valve | 8 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
16 | Protocol for oil burners | 9 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
17 | Cold start-up check list (post overhaul) | 10 | 9 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
18 | Boiler start up log | 11 | 1 | 3 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
19 | Exception report on the status of unit protections | 1 | 1 | 4 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
20 | Schedule for testing | 1 | 1 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
21 | Dc lub oil pump | 2 | 2 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
22 | Remote trip actuator | 3 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
23 | Over speed device | 4 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
24 | Low vacuum trip device | 5 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
25 | Thrust brg. trip(stage-i) | 6 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
26 | Turbine stop v/v | 7 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
27 | Turbine control v/v | 8 | 4 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
28 | Remote trip actuator | 9 | {9,1} | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
29 | Overspeed device | 10 | 9 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
30 | Low vacuum trip device | 11 | {9,1} | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
31 | Turbine stop v/v | 12 | {9,1} | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
32 | Turbine control v/v | 13 | {9,1} | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
33 | Thrust brg. trip(stage-i) | 14 | 9 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
34 | Extraction nrvs | 15 | 9 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
35 | Fire protection | 16 | 9 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
36 | Record format for details of testing | 17 | 1 | 5 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
37 | Boiler protections | 1 | {9,1} | 6 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
38 | Turbine protections | 2 | {9,1} | 6 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
39 | Generator protection(grp) | 3 | {9,1} | 6 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
40 | Sadc checking | 1 | 5 | 7 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
41 | Wall blower pressure setting | 2 | {9,1} | 7 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
42 | Protocol for dew point measurement before exciting the generator | 1 | 1 | 8 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
43 | Format for oil filling in lub oil system | 1 | 1 | 9 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
44 | Lrsb logbook | 1 | 1 | 10 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
45 | Ht/lt bus auto changeover checklist | 1 | 1 | 11 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
46 | Protocol for air & flue gas ducts cleaning and inspection | 1 | 9 | 12 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
47 | Protocol for pfa agglomerates/flakes blown off by running id/fd fan | 2 | 1 | 12 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
48 | Protocol for water jet washing of aph i/l and o/l duct & id fan i/l o/l duct & chimney walls | 3 | 9 | 12 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
49 | Oil injection test of main turbine | 1 | 5 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
50 | Protocol for turbine actual over speed test | 2 | 8 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
51 | Protocol for testing of main trip valve | 3 | 5 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
52 | Protocol of exercising the stop valves & control valves (without att) | 4 | 9 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
53 | Protocol of testing the stop valves & control valves with automatic turbine tester | 5 | 5 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
54 | Protocol for hydraulic governor charactristics | 6 | 9 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
55 | Protocol for testing the leakage (passing) of stop valves and control valves | 7 | 1 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
56 | Protocol for testing of hydraulic low vacuum device & checking of electrical low vacuum trip | 8 | {5,8} | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
57 | Protocol for testing of thrust bearing trip device (stage-1) | 9 | 5 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
58 | Protocol for testing of extraction nrvs | 10 | 5 | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
59 | Fire protection trips of turbine | 11 | {8, 1} | 13 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
60 | Controlled fast cooling of turbine log sheet – i | 1 | 1 | 14 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
61 | Controlled fast cooling of turbine log sheet - ii | 2 | 1 | 14 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
62 | Protocol for level switch checking of leakage pot in control fluid system | 1 | 9 | 15 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
63 | Format for frf makeup in control fluid system | 2 | 1 | 15 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
64 | Protocol for governing characterstics for mcv/acv | 1 | 9 | 16 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
65 | Joint protocol to be signed prior esp field charging after overhauling | 1 | 9 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
66 | Esp hoppers ash level checking protocol | 2 | 9 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
67 | Esp rapping motors status | 3 | 4 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
68 | Esp hopper temp. status | 4 | 4 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
69 | Daily esp status | 5 | 2 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}
70 | Hopper heater current checking by emd | 6 | 5 | 17 | {1,2,3,4,5,6} | {"01-01-2020", "01-01-2020","01-01-2020","01-01-2020","01-01-2020","01-01-2020"} | {"00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000","00-00-0000"}